Specifier:  The purpose of this guide specification is to assist the specifier in correctly specifying products and installation of a roof sheathing assembly consisting of sheathing with integral air and moisture barrier and a peel and stick underlayment membrane.  The specifier needs to edit the guide specifications to fit the needs of specific projects.  Contact Huber Engineered Woods to assist in appropriate product selections.  Throughout the guide specification, there are Specifier Notes to assist in the editing of the file. Green text relates to sustainability and red text in brackets indicates a selection needs to be made

SECTION 06 16 53.03

ROOF SHEATHING ASSEMBLY

(Huber Engineered Woods -  ZIP System® Roof Assembly with ZIP System™ Peel and Stick Underlayment, and ZIP System™ Peel and Stick Underlayment HT)

- GENERAL

      - SECTION INCLUDES

Specifier: When using ZIP System® sheathing, coordinate/delete air barrier/weather barrier specifications from Division 07 and Wall and other project specific sheathing in Division 06.

        - Roof sheathing with integral air and moisture barrier.

        - [High Temperature] Peel and Stick underlayment

      - ACTION SUBMITTALS

        - Product Data:  Product Data:  For each type of sheathing and underlayment product.  Include manufacturer’s technical data indicating performance properties

        - Shop Drawings:  Indicating location and extent of sheathing, peel and stick underlayment, accessories, and assemblies.  Include details of joints, corners, and penetrations.

      - INFORMATIONAL SUBMITTALS

        - Evaluation Reports:  From ICC-ES, for wood sheathing and seam tape and flashing.

        - Product Certifications:  From manufacturer, indicating that sheathing products comply with indicated ICC-ES Acceptance Criteria.

Specifier: When project is pursuing a sustainable rating system, retain Sustainable Design Submittal paragraph and edit to correspond to the specific Project requirements.  Modify based on rating system being pursued.

- Product Data requirement applies to LEED v4, IgCC, ASHRAE 189.1, and Green Globes

- Laboratory Test Reports for composite wood applies to LEED v4

        - Sustainable Design Submittals:

          - Laboratory Test Reports: Indicating compliance with requirement for low emitting materials for composite wood products

          - Certified Wood Certificates:  Certificates indicating that manufacturer is currently certified by an SFI- or FSC- accredited certification body, and chain-of-custody certificates indicating that sheathing products comply with forest certification requirements.

Specifier:  Retain or add specific requirements for projects in indicated jurisdictions or where requirements are used as a standard of care.

        - [Florida Building Code Supplement: Documentation indicating that products have a current Florida State Product Approval in accordance with the Florida Building Code.]

        - [Code Compliance recognition by Los Angeles Department of Building and Safety.]

        - [Code Compliance with the California Building Codes]

        - Warranty:  Sample unexecuted copy of manufacturer’s warranty.

      - CLOSEOUT SUBMITTALS

Specifier:  Leak Free Warranty is proprietary for ZIP System® roof assemblies – Refer to Specifier note in  Warranty Article below

        - Warranty:  Executed copy of [manufacturer’s warranty] [ZIP System™ Leak Free Warranty]

      - QUALITY ASSURANCE

Specifier:  Retain when pursuing a sustainable rating system requiring chain of custody

        - Manufacturer Qualifications:  Capable of demonstrating that all wood procurement operations are conducted in accordance with procedures and policies of the Sustainable Forestry Initiative (SFI) Program, and the 2015-2019 Standards.

        - [Roof sheathing meeting requirements for roof underlayment in accordance with ICC-ES AC266- Wood Structural Panel Roof Sheathing Factory-laminated with an Alternative Roof Underlayment.]

Specifier:  Retain Jurisdiction specific quality assurance paragraphs appropriate for specific project.  "Florida State Building Code Certificate" for Florida projects or where FSBC qualification is used as a standard. The Florida Product Approval numbers indicated are specific to ZIP System® sheathing. The first Florida Product Approval is for the sheathing alone – the second is for the ZIP System™ peel and stick underlayment.

        - [Florida Building Code Compliance:  Provide sheathing complying with Florida Building Code product and installation requirements for locations outside of high velocity wind zone.]

          - [Florida Product Approval No.17146 – ZIP System® Roof Sheathing]

          - [Florida Product Approval No. 39821 – ZIP System™ Peel and Stick Underlayment]

      - DELIVERY, STORAGE, AND HANDLING

        - Comply with manufacturer's written instructions for protection of sheathing and underlayment products from weather prior to installation.

        - Ensure peel and stick underlayment is installed prior to the end of shelf life as determined by the manufacturer.

      - WARRANTY

Specifier:  Verify warranty provisions for specified products.  Huber Engineered Woods LLC offers warranty periods of up to 30 years for ZIP System® sheathing.  The Leak-Free Limited Warranty applies only when the roof assembly incorporates ZIP System® sheathing, ZIP System™ tapes, and ZIP System™ peel and stick underlayment products.  Contact Huber Engineered Woods, for additional requirements and limitations of the Leak-Free Limited Warranty.

        - Manufacturer's Warranty:  Manufacturer's standard form in which sheathing manufacturer agrees to repair or replace sheathing products that demonstrate deterioration or failure under normal use due to manufacturing defects within warranty period specified, when installed according to manufacturer's instructions.

          - Warranty Period for Sheathing Products:30 years from date of Substantial Completion.

        - [Leak Free Limited Warranty:  Manufacturer’s warranty indicating ZIP System® roof assembly will not leak for the period of 5 year from the date of installation, when installed in accordance with manufacturer’s recommendations and requirements.]

- PRODUCTS

      - MANUFACTURER

        - Huber Engineered Woods LLC, Charlotte NC; Phone: (800) 933-9220; Website: www.huberwood.com

      - PERFORMANCE REQUIREMENTS

Specifier:  Retain "Fire-Test-Response" Paragraph when sheathing products are used as part of a fire-resistance-rated assembly and must conform to the requirements.

        - Fire-Test-Response Characteristics:

          - Exterior Fire-Test Exposure (Roof sheathing):  Where indicated provide approved products that are part of fire-resistance-rated assemblies with approved Class A coverings, tested in accordance with ASTM E108 – Standard Test Methods for Fire Test of Roof Coverings

        - Water-Vapor Permeance, Facer:  Minimum 12 perms (689 ng/Pa x s x sq. m),  when tested in accordance with ASTM E96/E96M – Standard Test Methods for Water Vapor Transmission of Materials.

Specifier:  Retain and edit "Wood Panel Products" Article for all projects.

      - WOOD PANEL PRODUCTS

        - Single Source Limitations:  Provide [roof sheathing with integral air and moisture barrier] [and peel and stick underlayment products] by a single manufacturer.

Specifier:  Retain and edit "Certified Wood" Paragraph below as appropriate to Project sustainable design requirements.

        - Certified Wood:  Provide sheathing produced from wood obtained from forests certified by an accredited certification body.

        - Oriented Strand Board:  US Department of Commerce DOC PS 2 - Performance Standard for Wood-Based Structural Panels

          - Panels made with binder containing no added urea formaldehyde.

        - Panel Exposure: No damage from weather exposure for up to 180 days.

        - Printed fastener spacing symbols on facer for 16-inch (406 mm) and 24-inch (610 mm) on center spacing.

      - ROOF SHEATHING WITH INTEGRAL AIR AND MOISTURE

Specifier: Huber's ZIP System® sheathing may be used as roof sheathing on buildings of Type III or V construction and construction permitted under the IRC with allowable non-classified roof coverings using code-complying asphalt-fiberglass shingles, metal shingles, metal panels, wood shakes, wood shingles, slate shingles or slate-like composite shingles, and clay and concrete tile roof coverings. Installation is limited to roofs having slopes of 2:12 (16.67 percent) or greater.  Felt underlayment is not required on the roof.  In roof covering systems requiring multiple layers of roofing underlayment, ZIP System® sheathing is intended to replace only the first layer. Leak-Free warranty requires use of Performance Category

        - Oriented-Strand-Board Roof Sheathing:  Exposure 1, Structural 1 sheathing with factory-laminated water-resistive barrier facer with printed fastener location symbols.

          - Basis-of-Design:  Huber Engineered Woods LLC; ZIP System® roof sheathing.

          - Characteristics

            - Span Rating, Panel Grade and Performance Category:  Not less than [24/16; Structural 1; 7/16 Performance Category] [32/16; Structural 1; 1/2 Performance category] [40/20; Structural 1; 5/8 Performance Category].

Specifier:  Tongue-and-Groove edge profile is only available in 5/8 Performance Category ZIP System® sheathing. It may also have a limited availability by region.  Contact Huber Engineered Wood for additional information.

            - Edge Profile: [Tongue-and-Tongue] [Tongue-and-groove] and square-edge along 4 ft edges.

            - Exterior Surface Facer:  Medium-density, phenolic-impregnated kraft paper overlay in accordance with ICC-ES AC266 – Wood Structural Panel Roof Sheathing Factory-laminated with an Alternative Roof Underlayment.

Specifier:  7/16 Performance Category ZIP System® sheathing requires edge support (Approved H-Clips or blocking) when installed on roof supports spaced greater than 16-inches.  Approved Panel edge clips are Simpson Strong-Tie® PSCA7/16, PSCL7/16; MiTek® USP-PC716; and TAMLYN PCS7/16.

        - Panel Edge Clips:  Provide panel edge clips approved for roof application in accordance with code approvals and panel manufacturer's written instructions.

      - SHEATHING FASTENERS

Specifier: Review local building code requirements for fastener size and spacing. Corrosion Resistant fasteners are recommended for use in coastal environments.

        - Fasteners, General:  Size and type complying with manufacturer's written instructions for Project conditions and requirements of authorities having jurisdiction.

          - [Corrosion Resistant]

        - Nails, Brads, and Staples:  Conform with ICC-ES AC116 - Acceptance Criteria for Nails and Spikes and ICC-ES AC201 Acceptance Criteria for Staples

        - Power-Driven Fasteners:  ICC-ES ESR-1539 - Power Driven Staples and Nails for Use in Engineered and Non-Engineered Connections or ICC-ES NER-272 - Power Driven Staples and Nails for Use in All Types of Building Construction

      - PEEL AND STICK UNDERLAYMENT

        - Peel and stick roofing membranes, fulfilling code requirements for ice barrier and underlayment on roofs with slopes 2:12 or greater.  Underlayment to be used on [valleys,]  [ eaves,] and  [transitions.] [entire roof surface.]

Specifier:  Maintain project specific underlayment to be used.  If both types are to be used, identify location for each.

          - Basis-of-Design:  Huber Engineered Woods LLC; ZIP System™ peel and stick [underlayment] [underlayment HT] products

          - Characteristics:

            - Adhesive Technology: Rubberized Asphalt

            - Thickness:  40 mils

Specifier:  Maintain project specific underlayment to be used.  If both types are to be used, identify location for each.   Service temperature may be affected by the type of final roof – metal roofing provide temperature higher than other roofing types.

            - Backing Material: [(Underlayment) Cross-laminated polyethylene film] [(Underlayment HT) Polymeric film]

            - Exposure Period: [(Underlayment) 90 days] [(Underlayment HT) 120 days]

            - Maximum Service Temperature: [(Underlayment) 180 degrees F] [(Underlayment HT) 260 degrees F]

            - Permeance:  less than or equal to 0.05 perms

      - ACCESSORY PRODUCTS

Specifier: Huber's ZIP System™ tape is used to tape sheathing panel joints and may also be used as flexible flashing around window frames, door frames, wall penetrations, and transitions to other materials.

        - Self-Adhering Seam and Flashing Tape:  Pressure-sensitive, self-adhering, cold-applied, seam tape consisting of polyolefin film with acrylic adhesive, meeting ICC-ES AC148 – Acceptance Criteria for Flexible Flashing Materials, and tested as part of an assembly meeting performance requirements.

          - Basis-of-Design:  Huber Engineered Woods; ZIP System™ flashing tape.

          - Characteristics

            - Adhesive type:  Acrylic

            - Thickness:    0.012 inch (0.3 mm).

            - Tensile Strength:  938 psi

            - Elongation:  400-800 percent

            - Complies with AAMA 711 – Voluntary Specification for Self Adhering Flashing Used for Installation of Exterior Wall Fenestration and ICC-ES AC148 – Acceptance Criteria for Flexible Flashing Materials,

Specifier: Huber's ZIP System™ stretch tape may be used as flexible flashing around openings and penetrations. ZIP System™ stretch tape is an innovative construction tape that stretches and forms around irregular and difficult to seal areas.  It is resistant to UV radiation and has a 30-year limited system warranty when used with ZIP System® sheathing.

        - Self-Adhering Flexible Flashing Tape:  Pressure-sensitive, self-adhering, cold-applied, seam tape consisting of polyolefin film with acrylic adhesive; tested as part of an assembly meeting performance requirements.

          - Basis-of-Design:  Huber Engineered Woods; ZIP System™ stretch tape.

          - Characteristics

            - Adhesive type:  Acrylic

            - Thickness:  0.042 inch (1.067 mm).

            - Tensile Strength:  225 psi

            - Elongation:  800-1200 percent

            - Complies with AAMA 711 – Voluntary Specification for Self Adhering Flashing Used for Installation of Exterior Wall Fenestration and ICC-ES AC148 – Acceptance Criteria for Flexible Flashing Materials

- EXECUTION

      - EXAMINATION

        - Examine framing spacing and alignment to determine if work is ready to receive sheathing.  Proceed with sheathing work once conditions meet requirements.

      - SHEATHING INSTALLATION

        - General:  Install sheathing panels in accordance with manufacturer's written instructions, requirements of applicable Evaluation Reports, and requirements of authorities having jurisdiction.

          - Do not bridge expansion joints; allow joint spacing equal to spacing of structural supports.

          - Install panels with laminated facer to exterior.  Stagger end joints of adjacent panel runs.  Support all panel edges.

          - Panel Edge Spacing:  Sheathing panel manufacturer’s recommendations

          - Attach sheathing panels securely to substrate with manufacturer-approved fasteners in compliance with the following:

            - ICC-ES ESR-1539 - Power Driven Staples and Nails for Use in Engineered and Non-Engineered Connections or ICC-ES NER-272 - Power Driven Staples and Nails for Use in All Types of Building Construction

Specifier:  Retain one of two subparagraphs based on applicable building code for project.  Revise Code references based on jurisdiction.

            - [ICC IBC - International Building Code Table 2304.9.1 Fastening Schedule.]

            - [ICC IRC - International Residential Code for One- and Two-Family Dwellings: IRC Table R602.3(1), Fastener Schedule for Structural Members, and   R602.3(2), Alternate Attachments.]

Specifier:  7/16 Performance Category ZIP System® sheathing requires edge support (Approved H-Clips or blocking) when installed on roof supports spaced greater than 16-inches on-center. Approved panel edge clips include Simpson Strong-Tie® PSCA7/16, PSCL7/16; MiTek® USP-PC716; and TAMLYN PCS7/16.

          - [Install Roof Sheathing Panel Clips where required under code approvals based upon panel thickness and support spacing, provide panel clips located at each unsupported panel butt joint centered between supports.]

      - SHEATHING SEAM AND PENETRATION TREATMENT

        - Assembly continuity:  Coordinate sheathing installation with flashing and joint sealant sequencing and installation and with adjacent building air and moisture barrier components to provide complete, continuous air- and moisture- barrier.

        - Tape  panel seams, penetrations, and facer defects or cracks with self-adhering seam tape [ZIP System™ flashing tape] to form continuous weathertight surface.  Apply tape according to manufacturer's written instructions and requirements of ICC-ES applicable to tape application.

        - Tape openings and radius penetrations with self-adhering flexible flashing tape [ZIP System™ stretch tape] to form continuous weathertight surface. Apply tape according to manufacturer’s written instructions and requirements of ICC-AC applicable to tape application.

      - UNDERLAYMENT INSTALLATION

        - Prior to installation of peel and stick underlayment, confirm sheathing has been installed and fastened in accordance with sheathing manufacturer’s recommendations.

        - Ensure substrate for peel and stick underlayment is dry and free of dirt, debris, or frost.

        - Install ZIP System™ peel and stick underlayment in accordance with:

          - Huber Engineered Woods’ published installation instructions.

          - ICC-ES ESR 4904

          - Requirements of local building codes or authorities having jurisdiction.

          - Where installation instructions of the above are not in agreement, utilize the most restrictive requirements.

END OF SECTION

DISCLAIMER: 

This Specification have been written as an aid to the professionally qualified Specifier and Design Professional. The use of this Guide requires the sole professional judgment and expertise of the qualified Specifier and Design Professional to adapt the information to the specific needs for the Building Owner and the Project, to coordinate with their Construction Document Process, and to meet all the applicable building codes, regulations and laws. HUBER ENGINEERED WOODS EXPRESSLY DISCLAIMS ANY WARRANTY, EXPRESSED OR IMPLIED, INCLUDING THE WARRANTY OF MERCHANTABILITY OR FITNESS FOR PARTICULAR PURPOSE OF THIS PRODUCT FOR THE PROJECT.